## Consolidated results
Participant ID | Gender | Field RDT | Field Microscopy | Field reported species | Field parasitemia(p/ul) | Novaplex spp | RT PCR spp. | RT PCR_P.o | RT PCR_P.m | RT PCR_P.f | RT PCR_P.v | Age(yrs) | height(cm) | weight(kg) | Temperature©
BSMN/001 | Female | Not detected | Not detected | Not detected | 0 | PF | PF | Not detected | Not detected | pos | Not detected | 22 | 162 | 50 | 36.6
BSMN/002 | Female | Not detected | Not detected | Not detected | 0 | PF | PF | Not detected | Not detected | pos | Not detected | 0.6 | 65 | 6.7 | 37.1
BSMN/003 | Female | Not detected | Not detected | Not detected | 0 | PF | PF | Not detected | Not detected | pos | Not detected | 24 | 164 | 62 | 37.1
BSMN/004 | Female | Not detected | Not detected | Not detected | 0 | PF | PF | Not detected | Not detected | pos | Not detected | 3.3 | 94 | 13.2 | 36.8
BSMN/005 | Female | Not detected | Not detected | Not detected | 0 | PF | PF | Not detected | Not detected | pos | Not detected | 23 | 160 | 22 | 36.4
BSMN/006 | Female | Not detected | Not detected | Not detected | 0 | - | Not detected | Not detected | Not detected | Not detected | Not detected | 70 | 153 | 52 | 36.8
BSMN/007 | Male | pos | Not detected | Not detected | 0 | PF | PF | Not detected | Not detected | pos | Not detected | 8 | 109 | 23 | 37
BSMN/008 | Female | pos | pos | PF | 6408 | PF | PF | Not detected | Not detected | pos | Not detected | 51 | 168 | 82.6 | 37.2
BSMN/009 | Female | Not detected | Not detected | Not detected | 0 | PF | PF | Not detected | Not detected | pos | Not detected | 34 | 167 | 90 | 37.8
BSMN/010 | Male | Not detected | Not detected | Not detected | 0 | PF | PF | Not detected | Not detected | pos | Not detected | 17 | 159 | 58 | 37
BSMN/011 | Female | pos | pos | PF | 240 | PF | PF | Not detected | Not detected | pos | Not detected | 48 | 164 | 74 | 37.5
BSMN/012 | Female | pos | pos | PM/PF | 8100 | PF | PF | Not detected | Not detected | pos | Not detected | 10 | 146 | 30 | 37.4
BSMN/013 | Female | Not detected | Not detected | Not detected | 0 | PF | PF | Not detected | Not detected | pos | Not detected | 20.7 | 165 | 65.4 | 36.8
BSMN/014 | Male | Not detected | Not detected | Not detected | 0 | PF | PF | Not detected | Not detected | pos | Not detected | 7.4 | 64.7 | 24.4 | 36.8
BSMN/015 | Female | Not detected | Not detected | Not detected | 0 | - | Not detected | Not detected | Not detected | Not detected | Not detected | 58.7 | 164 | 58.7 | 36.4
BSMN/016 | Female | Not detected | Not detected | Not detected | 0 | "PO,PF" | PO/PF | pos | Not detected | pos | Not detected | 7.5 | 111 | 20.4 | 36.7
BSMN/017 | Female | Not detected | Not detected | Not detected | 0 | PF | PF | Not detected | Not detected | pos | Not detected | 50.11 | 165 | 45.6 | 36.4
BSMN/018 | Female | Not detected | Not detected | Not detected | 0 | PF | PF | Not detected | Not detected | pos | Not detected | 21.11 | 157 | 61.2 | 36.3
BSMN/019 | Male | Not detected | Not detected | Not detected | 0 | PF | PF | Not detected | Not detected | pos | Not detected | 66.5 | 161 | 47 | 36.7
BSMN/020 | Female | Not detected | Not detected | Not detected | 0 | PF | PF | Not detected | Not detected | pos | Not detected | 56.1 | 164 | 53.9 | 36.1
BSMN/021 | Female | Not detected | Not detected | Not detected | 0 | PF | PF | Not detected | Not detected | pos | Not detected | 1 | 76 | 8.7 | 37.3
BSMN/022 | Female | Not detected | Not detected | Not detected | 0 | - | Not detected | Not detected | Not detected | Not detected | Not detected | 21.5 | 174 | 52 | 36
BSMN/023 | Female | Not detected | Not detected | Not detected | 0 | - | PF | Not detected | Not detected | pos | Not detected | 50.2 | 158 | 58.1 | 36.8
BSMN/024 | Female | Not detected | Not detected | Not detected | 0 | PF | PF | Not detected | Not detected | pos | Not detected | 2.1 | 90 | 12 | 36.8
BSMN/025 | Male | Not detected | Not detected | Not detected | 0 | PF | PF | Not detected | Not detected | pos | Not detected | 0.2 | 64 | 5.2 | 37
BSMN/026 | Male | Not detected | Not detected | Not detected | 0 | - | PF | Not detected | Not detected | pos | Not detected | 0.11 | 69 | 10.2 | 37.5
BSMN/027 | Male | Not detected | Not detected | Not detected | 0 | PF | PF | Not detected | Not detected | pos | Not detected | 29 | 149 | 53 | 36.8
BSMN/028 | Male | pos | pos | PF | 24000 | PF | PF | Not detected | Not detected | pos | Not detected | 11.6 | 143 | 27.3 | 36.6
BSMN/029 | Female | Not detected | Not detected | Not detected | 0 | PF | PF | Not detected | Not detected | pos | Not detected | 18 | 65.2 | 170 | 36.8
BSMN/030 | Male | pos | pos | PF | 240 | PF | PF | Not detected | Not detected | pos | Not detected | 52.11 | 175 | 88.6 | 37.9
BSMN/031 | Female | Not detected | Not detected | Not detected | 0 | PF | PF | Not detected | Not detected | pos | Not detected | 6.1 | 119 | 26 | 37.1
BSMN/032 | Female | pos | pos | PF | 2200 | PF | PF | Not detected | Not detected | pos | Not detected | 23.5 | 163 | 73.5 | 36.5
BSMN/033 | Female | Not detected | Not detected | Not detected | 0 | - | PF | Not detected | Not detected | pos | Not detected | 27.1 | 164 | 58.6 | 36.2
BSMN/034 | Female | Not detected | Not detected | Not detected | 0 | "PF,PM" | PF | Not detected | Not detected | pos | Not detected | 3.4 | 110 | 12.6 | 36.2
BSMN/035 | Female | Not detected | Not detected | Not detected | 0 | PF | Not detected | Not detected | Not detected | Not detected | Not detected | 15 | 144 | 55.7 | 36.3
BSMN/036 | Female | Not detected | Not detected | Not detected | 0 | - | Not detected | Not detected | Not detected | Not detected | Not detected | 21.1 | 160 | 66 | 37.2
BSMN/037 | Female | Not detected | Not detected | Not detected | 0 | PF | PF | Not detected | Not detected | pos | Not detected | 21 | 153 | 50.1 | 36.2
BSMN/038 | Female | Not detected | Not detected | Not detected | 0 | PF | PF | Not detected | Not detected | pos | Not detected | 9.3 | 124 | 20 | 36.7
BSMN/039 | Male | Not detected | Not detected | Not detected | 0 | PO | PO/PF | pos | Not detected | pos | Not detected | 4.4 | 115 | 14.5 | 37.7
BSMN/040 | Female | pos | pos | PM/PF | 51548 | PF | PF | Not detected | Not detected | pos | Not detected | 20.5 | 169 | 73.5 | 37.2
BSMN/041 | Female | pos | pos | PF | 3024 | "PF,PM" | PF | Not detected | Not detected | pos | Not detected | 16 | 152 | 49.5 | 37.2
BSMN/042 | Male | pos | pos | PF | 75347 | PF | PF | Not detected | Not detected | pos | Not detected | 11 | 135 | 29.5 | 39.4
BSMN/043 | Female | Not detected | Not detected | Not detected | 0 | PF | PF | Not detected | Not detected | pos | Not detected | 17.7 | 153 | 50.4 | 36.6
BSMN/044 | Female | Not detected | Not detected | Not detected | 0 | PF | PF | Not detected | Not detected | pos | Not detected | 35.5 | 164 | 71.5 | 36.3
BSMN/045 | Male | Not detected | Not detected | Not detected | 0 | PF | PF | Not detected | Not detected | pos | Not detected | 9.7 | 137 | 28.6 | 36.3
BSMN/046 | Female | Not detected | Not detected | Not detected | 0 | PF | PF | Not detected | Not detected | pos | Not detected | 70.7 | 184 | 45.9 | 36
BSMN/047 | Male | Not detected | Not detected | Not detected | 0 | "PF,PM" | PF | Not detected | Not detected | pos | Not detected | 9.4 | 128 | 25.5 | 36.6
BSMN/048 | Female | pos | pos | PF | 14970 | PF | PF | Not detected | Not detected | pos | Not detected | 11.2 | 140 | 31 | 37.4
BSMN/049 | Female | Not detected | pos | PM | 200 | "PF,PM" | PM/PF | Not detected | pos | pos | Not detected | 22 | 173 | 72.5 | 36.1
BSMN/050 | Female | pos | pos | PF | 46200 | PF | PF | Not detected | Not detected | pos | Not detected | 12 | 158 | 36.7 | 37.7
BSMN/051 | Female | pos | pos | PF | 22200 | PF | PF | Not detected | Not detected | pos | Not detected | 13 | 162 | 57 | 36.3
BSMN/052 | Male | pos | pos | PF | 18200 | PF | PF | Not detected | Not detected | pos | Not detected | 11 | 136 | 35.6 | 37.6
BSMN/053 | Female | pos | pos | PF | 2000 | PF | PF | Not detected | Not detected | pos | Not detected | 16 | 166 | 63 | 36
BSMN/054 | Female | Not detected | Not detected | Not detected | 0 | PF | PF | Not detected | Not detected | pos | Not detected | 9.4 | 126 | 25 | 36.1
BSMN/055 | Female | pos | pos | PF | 78800 | PF | PF | Not detected | Not detected | pos | Not detected | 5.5 | 116.5 | 23 | 38.2
BSMN/056 | Female | Not detected | Not detected | Not detected | 0 | PF | PF | Not detected | Not detected | pos | Not detected | 76 | 152 | 54 | 36.9
BSMN/057 | Male | pos | pos | PF | 32400 | PF | PF | Not detected | Not detected | pos | Not detected | 1.11 | 78.4 | 11 | 37.8
BSMN/058 | Male | pos | pos | PF | 26200 | PF | PF | Not detected | Not detected | pos | Not detected | 1.8 | 79 | 11.2 | 38.7
BSMN/059 | Male | Not detected | Not detected | Not detected | 0 | PF | PF | Not detected | Not detected | pos | Not detected | 21.11 | 175 | 55.6 | 36.7
BSMN/060 | Female | Not detected | Not detected | Not detected | 0 | PF | PF | Not detected | Not detected | pos | Not detected | 16.1 | 167 | 55 | 36.9
BSMN/061 | Male | pos | pos | PF | 16200 | PF | PF | Not detected | Not detected | pos | Not detected | 6.1 | 170 | 62.5 | 37.4
BSMN/062 | Female | Not detected | Not detected | Not detected | 0 | PF | PF | Not detected | Not detected | pos | Not detected | 9 | 134 | 26.6 | 38
BSMN/063 | Female | pos | pos | PM/PF | 8719 | PF | PF | Not detected | Not detected | pos | Not detected | 18 | 154.5 | 49.1 | 37.3
BSMN/064 | Female | pos | pos | PM/PF | 1241 | PF | PF | Not detected | Not detected | pos | Not detected | 3 | 104 | 13.7 | 38.5
BSMN/065 | Male | pos | pos | PM/PF | 27692 | PF | PF | Not detected | Not detected | pos | Not detected | 5.1 | 110 | 20.8 | 36.8
BSMN/066 | Female | pos | pos | PM/PF | 20160 | PF | PF | Not detected | Not detected | pos | Not detected | 20.9 | 148 | 52.8 | 37.3
BSMN/067 | Female | pos | pos | PM/PF | 3406 | PF | PF | Not detected | Not detected | pos | Not detected | 24 | 155 | 54.9 | 34.3
BSMN/068 | Female | pos | pos | PM/PF | 9199 | PF | PF | Not detected | Not detected | pos | Not detected | 7 | 130 | 25.5 | 39.1
BSMN/069 | Female | pos | pos | PM/PF | 8292 | PF | PF | Not detected | Not detected | pos | Not detected | 17 | 159 | 42 | 37.5
BSMN/070 | Female | pos | pos | PM/PF | 16978 | PF | PF | Not detected | Not detected | pos | Not detected | 14 | 163 | 63.5 | 36.4
BSMN/071 | Female | pos | pos | PF | 800 | PF | PF | Not detected | Not detected | pos | Not detected | 19.8 | 166 | 64.1 | 37.2
BSMN/072 | Female | pos | pos | PM/PF | 2850 | PF | PF | Not detected | Not detected | pos | Not detected | 26 | 165 | 62 | 36.8
BSMN/073 | Female | pos | pos | PF | 36400 | PF | PF | Not detected | Not detected | pos | Not detected | 12 | 145 | 45.5 | 36.6
BSMN/074 | Female | pos | pos | PF | 5925 | PF | PF | Not detected | Not detected | pos | Not detected | 30.6 | 154 | 57.8 | 36.6
BSMN/075 | Female | Not detected | pos | PF | 400 | PF | PF | Not detected | Not detected | pos | Not detected | 50.7 | 174 | 52.2 | 37.2
BSMN/076 | Male | pos | pos | PF | 13533 | PF | PF | Not detected | Not detected | pos | Not detected | 8.9 | 107 | 27.8 | 36.6
BSMN/077 | Female | pos | pos | PF | 12940 | PF | PF | Not detected | Not detected | pos | Not detected | 1.11 | 90 | 15.1 | 37.8
BSMN/078 | Female | pos | pos | PF | 480 | PF | PF | Not detected | Not detected | pos | Not detected | 15 | 152 | 45.1 | 36.9
BSMN/079 | Female | pos | pos | PF | 200 | PF | PF | Not detected | Not detected | pos | Not detected | 30 | 162 | 70 | 37.4
BSMN/080 | Male | pos | pos | PF | 240 | PF | PF | Not detected | Not detected | pos | Not detected | 17 | 140 | 50 | 36.4
BSMN/081 | Male | pos | pos | PF | 341 | PF | PF | Not detected | Not detected | pos | Not detected | 50 | 161 | 70 | 38
BSMN/082 | Female | pos | pos | PF | 3068 | PF | PF | Not detected | Not detected | pos | Not detected | 11 | 148 | 39.4 | 36.3
BSMN/083 | Female | pos | pos | PF | 10064 | PF | PF | Not detected | Not detected | pos | Not detected | 19 | 152 | 52.5 | 37.6
BSMN/084 | Male | pos | pos | PF | 58200 | PF | PF | Not detected | Not detected | pos | Not detected | 11 | 149 | 33 | 36.3
BSMN/085 | Female | pos | pos | PM/PF | 249 | "PF,PM" | PM/PF | Not detected | pos | pos | Not detected | 11 | 140 | 30 | 37.2
BSMN/086 | Male | pos | pos | PF | 7803 | PF | PF | Not detected | Not detected | pos | Not detected | 12.2 | 128 | 30 | 37.2
BSMN/087 | Female | Not detected | pos | PM/PF | 143 | "PF,PM" | PM/PF | Not detected | pos | pos | Not detected | 26 | 160 | 60.3 | 36.7
BSMN/088 | Female | Not detected | pos | PF | 360 | PF | PF | Not detected | Not detected | pos | Not detected | 63 | 163 | 53.8 | 36.5
BSMN/089 | Male | pos | pos | PF | 85962 | PF | PF | Not detected | Not detected | pos | Not detected | 8 | 136 | 31.2 | 37.5
BSMN/090 | Female | pos | pos | PM/PF | 9931 | PF | PF | Not detected | Not detected | pos | Not detected | 12 | 147 | 37 | 37.2
BSMN/091 | Female | pos | pos | PF | 98666 | PF | PF | Not detected | Not detected | pos | Not detected | 23 | 149 | 52.5 | 37.2
BSMN/092 | Female | pos | pos | PF | 9052 | PF | PF | Not detected | Not detected | pos | Not detected | 9 | 133 | 24.6 | 36.4
BSMN/093 | Female | pos | pos | PM/PF | 1176 | PF | PF | Not detected | Not detected | pos | Not detected | 18.5 | 156.5 | 46.4 | 36.1
BSMN/094 | Female | pos | pos | PM | 2940 | PF | PF | Not detected | Not detected | pos | Not detected | 25 | 166 | 60.2 | 37.1
BSMN/095 | Female | pos | pos | PM/PF | 3200 | PF | PF | Not detected | Not detected | pos | Not detected | 13 | 155 | 31 | 38.1
BSP001 | Male | pos | pos | PM/PF | 6840 | PF | PF | Not detected | Not detected | pos | Not detected | 61 | 167 | 67 | 37.3
BSP002 | Female | pos | pos | PM/PF | 4800 | PF | PM/PF | Not detected | pos | pos | Not detected | 13 | 149 | 36 | 37.6
BSP003 | Male | pos | pos | PM | 640 | "PO,PF" | PO/PF | pos | Not detected | pos | Not detected | 2 | 74 | 9 | 37.2
BSP004 | Female | pos | pos | PF | 148000 | PF | PO/PF | pos | Not detected | pos | Not detected | 14 | 156.4 | 48 | 37.2
BSP005 | Female | pos | pos | PF | 200 | PF | PF | Not detected | Not detected | pos | Not detected | 17 | 166 | 74.5 | 36.5
BSP006 | Female | Not detected | Not detected | Not detected | 0 | PF | PF | Not detected | Not detected | pos | Not detected | 14 | 160.8 | 44.1 | 37.1
BSP007 | Male | Not detected | Not detected | Not detected | 0 | PF | PF | Not detected | Not detected | pos | Not detected | 17 | 161 | 52 | 36.9
BSP008 | Female | Not detected | Not detected | Not detected | 0 | - | PF | Not detected | Not detected | pos | Not detected | 15 | 168 | 49 | 36.3
BSP009 | Female | pos | pos | PF | 840 | PF | PF | Not detected | Not detected | pos | Not detected | 11 | 149 | 36.4 | 37.8
BSP010 | Female | pos | pos | PF | 480000 | PF | PF | Not detected | Not detected | pos | Not detected | 3 | 76 | 11.5 | 37.1
BSP011 | Male | pos | pos | PF | 48000 | PF | PF | Not detected | Not detected | pos | Not detected | 16 | 170 | 53.1 | 36.7
BSP012 | Female | Not detected | Not detected | Not detected | 0 | "PO,PF" | PF | Not detected | Not detected | pos | Not detected | 20 | 158 | 56 | 36.9
BSP013 | Male | pos | pos | PF | 3440 | PF | PF | Not detected | Not detected | pos | Not detected | 16 | 156 | 52 | 37.6
BSP014 | Male | Not detected | Not detected | Not detected | 0 | - | PF | Not detected | Not detected | pos | Not detected | 16 | 149 | 51 | 36.7
BSP015 | Female | Not detected | Not detected | Not detected | 0 | - | PF | Not detected | Not detected | pos | Not detected | 20 | 161 | 56 | 35.6
BSP016 | Female | pos | pos | PM | 1400 | "PF,PM" | PM/PF/PO | pos | pos | pos | Not detected | 9 | 119 | 26.9 | 36.9
BSP017 | Female | pos | pos | PM | 1200 | PF | PF | Not detected | Not detected | pos | Not detected | 67 | 162 | 61 | 36.5
BSP018 | Female | pos | pos | PM/PF | 4810 | PF | PF | Not detected | Not detected | pos | Not detected | 13 | 136 | 51 | 37.3
BSP019 | Female | pos | pos | PF | 440 | PF | PF | Not detected | Not detected | pos | Not detected | 45 | 163.7 | 58.03 | 37.2
BSP020 | Female | pos | pos | PM | 3490 | "PF,PM" | PM/PF | Not detected | pos | pos | Not detected | 11 | 152 | 36.5 | 36.9
BSP021 | Male | pos | pos | PM | 6480 | "PO,PF,PM" | PM/PF/PO | pos | pos | pos | Not detected | 7 | 79.8 | 21 | 38.2
BSP022 | Female | pos | pos | PF | 9600 | PF | PF | pos | Not detected | pos | Not detected | 14 | 151 | 52.2 | 37.5
BSP023 | Female | pos | pos | PM | 64100 | "PF,PM" | PM/PF | Not detected | pos | pos | Not detected | 8 | 87.6 | 25 | 38.1
BSP024 | Female | pos | pos | PM | 700 | PM | PM/PF | Not detected | pos | pos | Not detected | 17 | 162 | 52 | 37.3
BSP025 | Male | pos | pos | PF | 400 | PF | PF | Not detected | Not detected | pos | Not detected | 16 | 156 | 55.05 | 36.8
BSP026 | Female | pos | pos | PM/PF | 21000 | PF | PF | Not detected | Not detected | pos | Not detected | 15 | 158.3 | 52.08 | 37.9
BSP027 | Male | Not detected | Not detected | Not detected | 0 | PF | PF | Not detected | Not detected | pos | Not detected | 19 | 157.2 | 60 | 37.5
BSP028 | Female | Not detected | Not detected | Not detected | 0 | PF | PF | Not detected | Not detected | pos | Not detected | 39 | 167 | 8.02 | 38.1
BSP029 | Male | pos | pos | PM | 480 | PF | PF | Not detected | Not detected | pos | Not detected | 3 | 89 | 14.08 | 38.9
BSP030 | Female | pos | pos | PF | 1314 | - | PF | Not detected | Not detected | pos | Not detected | 71 | 169 | 66.05 | 36.8
BSP031 | Female | pos | pos | PM/PF | 104000 | PF | PF | Not detected | Not detected | pos | Not detected | 15 | 157 | 55 | 36.7
BSP032 | Female | pos | pos | PM/PF | 6400 | PF | PF | Not detected | Not detected | pos | Not detected | 21 | 161 | 62.06 | 38.1
BSP033 | Male | Not detected | Not detected | Not detected | 0 | - | Not detected | Not detected | Not detected | Not detected | Not detected | 14 | 150 | 49 | 37.1
BSP034 | Male | pos | pos | PM | 984 | "PO,PF" | PO/PF | pos | Not detected | pos | Not detected | 3 | 83 | 11.01 | 38.1
BSP035 | Female | pos | pos | PF | 280 | PF | PF | Not detected | Not detected | pos | Not detected | 24 | 173 | 67 | 36.1
BSP036 | Female | pos | pos | PM/PF | 41900 | PF | PF | Not detected | Not detected | pos | Not detected | 17 | 162 | 66 | 39.2
BSP037 | Female | pos | pos | PF | 22730 | PF | PF | Not detected | Not detected | pos | Not detected | 29 | 158.3 | 65.03 | 37.6
BSP038 | Male | Not detected | Not detected | Not detected | 0 | PF | PF | Not detected | Not detected | pos | Not detected | 17 | 174 | 65.9 | 37.4
BSP039 | Female | Not detected | Not detected | Not detected | 0 | "PF,PM" | PM/PF | Not detected | pos | pos | Not detected | 16 | 164 | 61.2 | 36.9
BSP040 | Male | Not detected | Not detected | Not detected | 0 | PF | PF | Not detected | Not detected | pos | Not detected | 18 | 158 | 52.7 | 36.3
BSP041 | Male | Not detected | Not detected | Not detected | 0 | - | Not detected | Not detected | Not detected | Not detected | Not detected | 7 | 112.3 | 24 | 36.8
BSP042 | Female | pos | pos | PF | 484 | PF | PF | Not detected | Not detected | pos | Not detected | 57 | 163.5 | 51.5 | 37.3
BSP043 | Female | pos | pos | PF | 3280 | PF | PF | Not detected | Not detected | pos | Not detected | 5 | 12 | 21.4 | 36.7
BSP044 | Female | pos | pos | PF | 4250 | PF | PF | Not detected | Not detected | pos | Not detected | 17 | 134 | 50 | 36.9
BSP045 | Male | pos | pos | PF | 8242 | "PF,PM" | PF/PO | pos | Not detected | pos | Not detected | 5 | 8.93 | 21.3 | 36.9
BSP046 | Female | pos | pos | PM | 4600 | PF | PF | Not detected | Not detected | pos | Not detected | 17 | 162 | 55.09 | 37.6
BSP047 | Female | pos | pos | PM | 1900 | PF | PF | Not detected | Not detected | pos | Not detected | 16 | 164 | 68 | 37.8
positives |  | 83 | 86 | 86 |  | 129 | 135 | 9 | 10 | 135 | 0
Total |  | 142 | 142 | 142 |  | 142 | 142 | 142 | 142 | 142 | 142 | 142 | 142 | 142 | 142

## Matayos
Participant ID | Gender | Field RDT | Field Microscopy | Field reported Plasmodium species | Field reported parasitemia(p/ul) | Novaplex spp | RT PCR Consensus | RT PCR_P.o | RT PCR_P.m | RT PCR_P.f | RT PCR_P.v | Age | height(cm) | weight(kg) | Temperature
BSMN/001 | Female | Not detected | Not detected | Not detected | 0 | PF | PF | Not detected | Not detected | pos | Not detected | 22 | 162 | 50 | 36.6
BSMN/002 | Female | Not detected | Not detected | Not detected | 0 | PF | PF | Not detected | Not detected | pos | Not detected | 0.6 | 65 | 6.7 | 37.1
BSMN/003 | Female | Not detected | Not detected | Not detected | 0 | PF | PF | Not detected | Not detected | pos | Not detected | 24 | 164 | 62 | 37.1
BSMN/004 | Female | Not detected | Not detected | Not detected | 0 | PF | PF | Not detected | Not detected | pos | Not detected | 3.3 | 94 | 13.2 | 36.8
BSMN/005 | Female | Not detected | Not detected | Not detected | 0 | PF | PF | Not detected | Not detected | pos | Not detected | 23 | 160 | 22 | 36.4
BSMN/006 | Female | Not detected | Not detected | Not detected | 0 | - | Not detected | Not detected | Not detected | Not detected | Not detected | 70 | 153 | 52 | 36.8
BSMN/007 | Male | pos | Not detected | Not detected | 0 | PF | PF | Not detected | Not detected | pos | Not detected | 8 | 109 | 23 | 37
BSMN/008 | Female | pos | pos | PF | 6408 | PF | PF | Not detected | Not detected | pos | Not detected | 51 | 168 | 82.6 | 37.2
BSMN/009 | Female | Not detected | Not detected | Not detected | 0 | PF | PF | Not detected | Not detected | pos | Not detected | 34 | 167 | 90 | 37.8
BSMN/010 | Male | Not detected | Not detected | Not detected | 0 | PF | PF | Not detected | Not detected | pos | Not detected | 17 | 159 | 58 | 37
BSMN/011 | Female | pos | pos | PF | 240 | PF | PF | Not detected | Not detected | pos | Not detected | 48 | 164 | 74 | 37.5
BSMN/012 | Female | pos | pos | PM/PF | 8100 | PF | PF | Not detected | Not detected | pos | Not detected | 10 | 146 | 30 | 37.4
BSMN/013 | Female | Not detected | Not detected | Not detected | 0 | PF | PF | Not detected | Not detected | pos | Not detected | 20.7 | 165 | 65.4 | 36.8
BSMN/014 | Male | Not detected | Not detected | Not detected | 0 | PF | PF | Not detected | Not detected | pos | Not detected | 7.4 | 64.7 | 24.4 | 36.8
BSMN/015 | Female | Not detected | Not detected | Not detected | 0 | - | Not detected | Not detected | Not detected | Not detected | Not detected | 58.7 | 164 | 58.7 | 36.4
BSMN/016 | Female | Not detected | Not detected | Not detected | 0 | "PO,PF" | PO/PF | pos | Not detected | pos | Not detected | 7.5 | 111 | 20.4 | 36.7
BSMN/017 | Female | Not detected | Not detected | Not detected | 0 | PF | PF | Not detected | Not detected | pos | Not detected | 50.11 | 165 | 45.6 | 36.4
BSMN/018 | Female | Not detected | Not detected | Not detected | 0 | PF | PF | Not detected | Not detected | pos | Not detected | 21.11 | 157 | 61.2 | 36.3
BSMN/019 | Male | Not detected | Not detected | Not detected | 0 | PF | PF | Not detected | Not detected | pos | Not detected | 66.5 | 161 | 47 | 36.7
BSMN/020 | Female | Not detected | Not detected | Not detected | 0 | PF | PF | Not detected | Not detected | pos | Not detected | 56.1 | 164 | 53.9 | 36.1
BSMN/021 | Female | Not detected | Not detected | Not detected | 0 | PF | PF | Not detected | Not detected | pos | Not detected | 1 | 76 | 8.7 | 37.3
BSMN/022 | Female | Not detected | Not detected | Not detected | 0 | - | Not detected | Not detected | Not detected | Not detected | Not detected | 21.5 | 174 | 52 | 36
BSMN/023 | Female | Not detected | Not detected | Not detected | 0 | - | PF | Not detected | Not detected | pos | Not detected | 50.2 | 158 | 58.1 | 36.8
BSMN/024 | Female | Not detected | Not detected | Not detected | 0 | PF | PF | Not detected | Not detected | pos | Not detected | 2.1 | 90 | 12 | 36.8
BSMN/025 | Male | Not detected | Not detected | Not detected | 0 | PF | PF | Not detected | Not detected | pos | Not detected | 0.2 | 64 | 5.2 | 37
BSMN/026 | Male | Not detected | Not detected | Not detected | 0 | - | PF | Not detected | Not detected | pos | Not detected | 0.11 | 69 | 10.2 | 37.5
BSMN/027 | Male | Not detected | Not detected | Not detected | 0 | PF | PF | Not detected | Not detected | pos | Not detected | 29 | 149 | 53 | 36.8
BSMN/028 | Male | pos | pos | PF | 24000 | PF | PF | Not detected | Not detected | pos | Not detected | 11.6 | 143 | 27.3 | 36.6
BSMN/029 | Female | Not detected | Not detected | Not detected | 0 | PF | PF | Not detected | Not detected | pos | Not detected | 18 | 65.2 | 170 | 36.8
BSMN/030 | Male | pos | pos | PF | 240 | PF | PF | Not detected | Not detected | pos | Not detected | 52.11 | 175 | 88.6 | 37.9
BSMN/031 | Female | Not detected | Not detected | Not detected | 0 | PF | PF | Not detected | Not detected | pos | Not detected | 6.1 | 119 | 26 | 37.1
BSMN/032 | Female | pos | pos | PF | 2200 | PF | PF | Not detected | Not detected | pos | Not detected | 23.5 | 163 | 73.5 | 36.5
BSMN/033 | Female | Not detected | Not detected | Not detected | 0 | - | PF | Not detected | Not detected | pos | Not detected | 27.1 | 164 | 58.6 | 36.2
BSMN/034 | Female | Not detected | Not detected | Not detected | 0 | "PF,PM" | PF | Not detected | Not detected | pos | Not detected | 3.4 | 110 | 12.6 | 36.2
BSMN/035 | Female | Not detected | Not detected | Not detected | 0 | PF | Not detected | Not detected | Not detected | Not detected | Not detected | 15 | 144 | 55.7 | 36.3
BSMN/036 | Female | Not detected | Not detected | Not detected | 0 | - | Not detected | Not detected | Not detected | Not detected | Not detected | 21.1 | 160 | 66 | 37.2
BSMN/037 | Female | Not detected | Not detected | Not detected | 0 | PF | PF | Not detected | Not detected | pos | Not detected | 21 | 153 | 50.1 | 36.2
BSMN/038 | Female | Not detected | Not detected | Not detected | 0 | PF | PF | Not detected | Not detected | pos | Not detected | 9.3 | 124 | 20 | 36.7
BSMN/039 | Male | Not detected | Not detected | Not detected | 0 | PO | PO/PF | pos | Not detected | pos | Not detected | 4.4 | 115 | 14.5 | 37.7
BSMN/040 | Female | pos | pos | PM/PF | 51548 | PF | PF | Not detected | Not detected | pos | Not detected | 20.5 | 169 | 73.5 | 37.2
BSMN/041 | Female | pos | pos | PF | 3024 | "PF,PM" | PF | Not detected | Not detected | pos | Not detected | 16 | 152 | 49.5 | 37.2
BSMN/042 | Male | pos | pos | PF | 75347 | PF | PF | Not detected | Not detected | pos | Not detected | 11 | 135 | 29.5 | 39.4
BSMN/043 | Female | Not detected | Not detected | Not detected | 0 | PF | PF | Not detected | Not detected | pos | Not detected | 17.7 | 153 | 50.4 | 36.6
BSMN/044 | Female | Not detected | Not detected | Not detected | 0 | PF | PF | Not detected | Not detected | pos | Not detected | 35.5 | 164 | 71.5 | 36.3
BSMN/045 | Male | Not detected | Not detected | Not detected | 0 | PF | PF | Not detected | Not detected | pos | Not detected | 9.7 | 137 | 28.6 | 36.3
BSMN/046 | Female | Not detected | Not detected | Not detected | 0 | PF | PF | Not detected | Not detected | pos | Not detected | 70.7 | 184 | 45.9 | 36
BSMN/047 | Male | Not detected | Not detected | Not detected | 0 | "PF,PM" | PF | Not detected | Not detected | pos | Not detected | 9.4 | 128 | 25.5 | 36.6
BSMN/048 | Female | pos | pos | PF | 14970 | PF | PF | Not detected | Not detected | pos | Not detected | 11.2 | 140 | 31 | 37.4
BSMN/049 | Female | Not detected | pos | PM | 200 | "PF,PM" | PM/PF | Not detected | pos | pos | Not detected | 22 | 173 | 72.5 | 36.1
BSMN/050 | Female | pos | pos | PF | 46200 | PF | PF | Not detected | Not detected | pos | Not detected | 12 | 158 | 36.7 | 37.7
BSMN/051 | Female | pos | pos | PF | 22200 | PF | PF | Not detected | Not detected | pos | Not detected | 13 | 162 | 57 | 36.3
BSMN/052 | Male | pos | pos | PF | 18200 | PF | PF | Not detected | Not detected | pos | Not detected | 11 | 136 | 35.6 | 37.6
BSMN/053 | Female | pos | pos | PF | 2000 | PF | PF | Not detected | Not detected | pos | Not detected | 16 | 166 | 63 | 36
BSMN/054 | Female | Not detected | Not detected | Not detected | 0 | PF | PF | Not detected | Not detected | pos | Not detected | 9.4 | 126 | 25 | 36.1
BSMN/055 | Female | pos | pos | PF | 78800 | PF | PF | Not detected | Not detected | pos | Not detected | 5.5 | 116.5 | 23 | 38.2
BSMN/056 | Female | Not detected | Not detected | Not detected | 0 | PF | PF | Not detected | Not detected | pos | Not detected | 76 | 152 | 54 | 36.9
BSMN/057 | Male | pos | pos | PF | 32400 | PF | PF | Not detected | Not detected | pos | Not detected | 1.11 | 78.4 | 11 | 37.8
BSMN/058 | Male | pos | pos | PF | 26200 | PF | PF | Not detected | Not detected | pos | Not detected | 1.8 | 79 | 11.2 | 38.7
BSMN/059 | Male | Not detected | Not detected | Not detected | 0 | PF | PF | Not detected | Not detected | pos | Not detected | 21.11 | 175 | 55.6 | 36.7
BSMN/060 | Female | Not detected | Not detected | Not detected | 0 | PF | PF | Not detected | Not detected | pos | Not detected | 16.1 | 167 | 55 | 36.9
BSMN/061 | Male | pos | pos | PF | 16200 | PF | PF | Not detected | Not detected | pos | Not detected | 6.1 | 170 | 62.5 | 37.4
BSMN/062 | Female | Not detected | Not detected | Not detected | 0 | PF | PF | Not detected | Not detected | pos | Not detected | 9 | 134 | 26.6 | 38
BSMN/063 | Female | pos | pos | PM/PF | 8719 | PF | PF | Not detected | Not detected | pos | Not detected | 18 | 154.5 | 49.1 | 37.3
BSMN/064 | Female | pos | pos | PM/PF | 1241 | PF | PF | Not detected | Not detected | pos | Not detected | 3 | 104 | 13.7 | 38.5
BSMN/065 | Male | pos | pos | PM/PF | 27692 | PF | PF | Not detected | Not detected | pos | Not detected | 5.1 | 110 | 20.8 | 36.8
BSMN/066 | Female | pos | pos | PM/PF | 20160 | PF | PF | Not detected | Not detected | pos | Not detected | 20.9 | 148 | 52.8 | 37.3
BSMN/067 | Female | pos | pos | PM/PF | 3406 | PF | PF | Not detected | Not detected | pos | Not detected | 24 | 155 | 54.9 | 34.3
BSMN/068 | Female | pos | pos | PM/PF | 9199 | PF | PF | Not detected | Not detected | pos | Not detected | 7 | 130 | 25.5 | 39.1
BSMN/069 | Female | pos | pos | PM/PF | 8292 | PF | PF | Not detected | Not detected | pos | Not detected | 17 | 159 | 42 | 37.5
BSMN/070 | Female | pos | pos | PM/PF | 16978 | PF | PF | Not detected | Not detected | pos | Not detected | 14 | 163 | 63.5 | 36.4
BSMN/071 | Female | pos | pos | PF | 800 | PF | PF | Not detected | Not detected | pos | Not detected | 19.8 | 166 | 64.1 | 37.2
BSMN/072 | Female | pos | pos | PM/PF | 2850 | PF | PF | Not detected | Not detected | pos | Not detected | 26 | 165 | 62 | 36.8
BSMN/073 | Female | pos | pos | PF | 36400 | PF | PF | Not detected | Not detected | pos | Not detected | 12 | 145 | 45.5 | 36.6
BSMN/074 | Female | pos | pos | PF | 5925 | PF | PF | Not detected | Not detected | pos | Not detected | 30.6 | 154 | 57.8 | 36.6
BSMN/075 | Female | Not detected | pos | PF | 400 | PF | PF | Not detected | Not detected | pos | Not detected | 50.7 | 174 | 52.2 | 37.2
BSMN/076 | Male | pos | pos | PF | 13533 | PF | PF | Not detected | Not detected | pos | Not detected | 8.9 | 107 | 27.8 | 36.6
BSMN/077 | Female | pos | pos | PF | 12940 | PF | PF | Not detected | Not detected | pos | Not detected | 1.11 | 90 | 15.1 | 37.8
BSMN/078 | Female | pos | pos | PF | 480 | PF | PF | Not detected | Not detected | pos | Not detected | 15 | 152 | 45.1 | 36.9
BSMN/079 | Female | pos | pos | PF | 200 | PF | PF | Not detected | Not detected | pos | Not detected | 30 | 162 | 70 | 37.4
BSMN/080 | Male | pos | pos | PF | 240 | PF | PF | Not detected | Not detected | pos | Not detected | 17 | 140 | 50 | 36.4
BSMN/081 | Male | pos | pos | PF | 341 | PF | PF | Not detected | Not detected | pos | Not detected | 50 | 161 | 70 | 38
BSMN/082 | Female | pos | pos | PF | 3068 | PF | PF | Not detected | Not detected | pos | Not detected | 11 | 148 | 39.4 | 36.3
BSMN/083 | Female | pos | pos | PF | 10064 | PF | PF | Not detected | Not detected | pos | Not detected | 19 | 152 | 52.5 | 37.6
BSMN/084 | Male | pos | pos | PF | 58200 | PF | PF | Not detected | Not detected | pos | Not detected | 11 | 149 | 33 | 36.3
BSMN/085 | Female | pos | pos | PM/PF | 249 | "PF,PM" | PM/PF | Not detected | pos | pos | Not detected | 11 | 140 | 30 | 37.2
BSMN/086 | Male | pos | pos | PF | 7803 | PF | PF | Not detected | Not detected | pos | Not detected | 12.2 | 128 | 30 | 37.2
BSMN/087 | Female | Not detected | pos | PM/PF | 143 | "PF,PM" | PM/PF | Not detected | pos | pos | Not detected | 26 | 160 | 60.3 | 36.7
BSMN/088 | Female | Not detected | pos | PF | 360 | PF | PF | Not detected | Not detected | pos | Not detected | 63 | 163 | 53.8 | 36.5
BSMN/089 | Male | pos | pos | PF | 85962 | PF | PF | Not detected | Not detected | pos | Not detected | 8 | 136 | 31.2 | 37.5
BSMN/090 | Female | pos | pos | PM/PF | 9931 | PF | PF | Not detected | Not detected | pos | Not detected | 12 | 147 | 37 | 37.2
BSMN/091 | Female | pos | pos | PF | 98666 | PF | PF | Not detected | Not detected | pos | Not detected | 23 | 149 | 52.5 | 37.2
BSMN/092 | Female | pos | pos | PF | 9052 | PF | PF | Not detected | Not detected | pos | Not detected | 9 | 133 | 24.6 | 36.4
BSMN/093 | Female | pos | pos | PM/PF | 1176 | PF | PF | Not detected | Not detected | pos | Not detected | 18.5 | 156.5 | 46.4 | 36.1
BSMN/094 | Female | pos | pos | PM | 2940 | PF | PF | Not detected | Not detected | pos | Not detected | 25 | 166 | 60.2 | 37.1
BSMN/095 | Female | pos | pos | PM/PF | 3200 | PF | PF | Not detected | Not detected | pos | Not detected | 13 | 155 | 31 | 38.1
Positive |  | 49 | 52 | 52 |  | 88 | 90 | 2 | 3 | 90 | 0
Total |  | 95 | 95 | 95 | 95 | 95 | 95 | 95 | 95 | 95 | 95
70

## Sioport
Participant ID | Gender | Field RDT | Field Microscopy | Field reported Plasmodium species | Field reported parasitemia(p/ul) | Novaplex spp | RT PCR Consensus | RT PCR_P.o | RT PCR_P.m | RT PCR_P.f | RT PCR_P.v | Age | height(cm) | weight(kg) | Temperature
BSP001 | Male | pos | pos | PM/PF | 6840 | PF | PF | Not detected | Not detected | pos | Not detected | 61 | 167 | 67 | 37.3
BSP002 | Female | pos | pos | PM/PF | 4800 | PF | PM/PF | Not detected | pos | pos | Not detected | 13 | 149 | 36 | 37.6
BSP003 | Male | pos | pos | PM | 640 | "PO,PF" | PO/PF | pos | Not detected | pos | Not detected | 2 | 74 | 9 | 37.2
BSP004 | Female | pos | pos | PF | 148000 | PF | PO/PF | pos | Not detected | pos | Not detected | 14 | 156.4 | 48 | 37.2
BSP005 | Female | pos | pos | PF | 200 | PF | PF | Not detected | Not detected | pos | Not detected | 17 | 166 | 74.5 | 36.5
BSP006 | Female | Not detected | Not detected | Not detected | 0 | PF | PF | Not detected | Not detected | pos | Not detected | 14 | 160.8 | 44.1 | 37.1
BSP007 | Male | Not detected | Not detected | Not detected | 0 | PF | PF | Not detected | Not detected | pos | Not detected | 17 | 161 | 52 | 36.9
BSP008 | Female | Not detected | Not detected | Not detected | 0 | - | PF | Not detected | Not detected | pos | Not detected | 15 | 168 | 49 | 36.3
BSP009 | Female | pos | pos | PF | 840 | PF | PF | Not detected | Not detected | pos | Not detected | 11 | 149 | 36.4 | 37.8
BSP010 | Female | pos | pos | PF | 480000 | PF | PF | Not detected | Not detected | pos | Not detected | 3 | 76 | 11.5 | 37.1
BSP011 | Male | pos | pos | PF | 48000 | PF | PF | Not detected | Not detected | pos | Not detected | 16 | 170 | 53.1 | 36.7
BSP012 | Female | Not detected | Not detected | Not detected | 0 | "PO,PF" | PF | Not detected | Not detected | pos | Not detected | 20 | 158 | 56 | 36.9
BSP013 | Male | pos | pos | PF | 3440 | PF | PF | Not detected | Not detected | pos | Not detected | 16 | 156 | 52 | 37.6
BSP014 | Male | Not detected | Not detected | Not detected | 0 | - | PF | Not detected | Not detected | pos | Not detected | 16 | 149 | 51 | 36.7
BSP015 | Female | Not detected | Not detected | Not detected | 0 | - | PF | Not detected | Not detected | pos | Not detected | 20 | 161 | 56 | 35.6
BSP016 | Female | pos | pos | PM | 1400 | "PF,PM" | PM/PF/PO | pos | pos | pos | Not detected | 9 | 119 | 26.9 | 36.9
BSP017 | Female | pos | pos | PM | 1200 | PF | PF | Not detected | Not detected | pos | Not detected | 67 | 162 | 61 | 36.5
BSP018 | Female | pos | pos | PM/PF | 4810 | PF | PF | Not detected | Not detected | pos | Not detected | 13 | 136 | 51 | 37.3
BSP019 | Female | pos | pos | PF | 440 | PF | PF | Not detected | Not detected | pos | Not detected | 45 | 163.7 | 58.03 | 37.2
BSP020 | Female | pos | pos | PM | 3490 | "PF,PM" | PM/PF | Not detected | pos | pos | Not detected | 11 | 152 | 36.5 | 36.9
BSP021 | Male | pos | pos | PM | 6480 | "PO,PF,PM" | PM/PF/PO | pos | pos | pos | Not detected | 7 | 79.8 | 21 | 38.2
BSP022 | Female | pos | pos | PF | 9600 | PF | PF | pos | Not detected | pos | Not detected | 14 | 151 | 52.2 | 37.5
BSP023 | Female | pos | pos | PM | 64100 | "PF,PM" | PM/PF | Not detected | pos | pos | Not detected | 8 | 87.6 | 25 | 38.1
BSP024 | Female | pos | pos | PM | 700 | PM | PM/PF | Not detected | pos | pos | Not detected | 17 | 162 | 52 | 37.3
BSP025 | Male | pos | pos | PF | 400 | PF | PF | Not detected | Not detected | pos | Not detected | 16 | 156 | 55.05 | 36.8
BSP026 | Female | pos | pos | PM/PF | 21000 | PF | PF | Not detected | Not detected | pos | Not detected | 15 | 158.3 | 52.08 | 37.9
BSP027 | Male | Not detected | Not detected | Not detected | 0 | PF | PF | Not detected | Not detected | pos | Not detected | 19 | 157.2 | 60 | 37.5
BSP028 | Female | Not detected | Not detected | Not detected | 0 | PF | PF | Not detected | Not detected | pos | Not detected | 39 | 167 | 8.02 | 38.1
BSP029 | Male | pos | pos | PM | 480 | PF | PF | Not detected | Not detected | pos | Not detected | 3 | 89 | 14.08 | 38.9
BSP030 | Female | pos | pos | PF | 1314 | - | PF | Not detected | Not detected | pos | Not detected | 71 | 169 | 66.05 | 36.8
BSP031 | Female | pos | pos | PM/PF | 104000 | PF | PF | Not detected | Not detected | pos | Not detected | 15 | 157 | 55 | 36.7
BSP032 | Female | pos | pos | PM/PF | 6400 | PF | PF | Not detected | Not detected | pos | Not detected | 21 | 161 | 62.06 | 38.1
BSP033 | Male | Not detected | Not detected | Not detected | 0 | - | Not detected | Not detected | Not detected | Not detected | Not detected | 14 | 150 | 49 | 37.1
BSP034 | Male | pos | pos | PM | 984 | "PO,PF" | PO/PF | pos | Not detected | pos | Not detected | 3 | 83 | 11.01 | 38.1
BSP035 | Female | pos | pos | PF | 280 | PF | PF | Not detected | Not detected | pos | Not detected | 24 | 173 | 67 | 36.1
BSP036 | Female | pos | pos | PM/PF | 41900 | PF | PF | Not detected | Not detected | pos | Not detected | 17 | 162 | 66 | 39.2
BSP037 | Female | pos | pos | PF | 22730 | PF | PF | Not detected | Not detected | pos | Not detected | 29 | 158.3 | 65.03 | 37.6
BSP038 | Male | Not detected | Not detected | Not detected | 0 | PF | PF | Not detected | Not detected | pos | Not detected | 17 | 174 | 65.9 | 37.4
BSP039 | Female | Not detected | Not detected | Not detected | 0 | "PF,PM" | PM/PF | Not detected | pos | pos | Not detected | 16 | 164 | 61.2 | 36.9
BSP040 | Male | Not detected | Not detected | Not detected | 0 | PF | PF | Not detected | Not detected | pos | Not detected | 18 | 158 | 52.7 | 36.3
BSP041 | Male | Not detected | Not detected | Not detected | 0 | - | Not detected | Not detected | Not detected | Not detected | Not detected | 7 | 112.3 | 24 | 36.8
BSP042 | Female | pos | pos | PF | 484 | PF | PF | Not detected | Not detected | pos | Not detected | 57 | 163.5 | 51.5 | 37.3
BSP043 | Female | pos | pos | PF | 3280 | PF | PF | Not detected | Not detected | pos | Not detected | 5 | 12 | 21.4 | 36.7
BSP044 | Female | pos | pos | PF | 4250 | PF | PF | Not detected | Not detected | pos | Not detected | 17 | 134 | 50 | 36.9
BSP045 | Male | pos | pos | PF | 8242 | "PF,PM" | PF/PO | pos | Not detected | pos | Not detected | 5 | 8.93 | 21.3 | 36.9
BSP046 | Female | pos | pos | PM | 4600 | PF | PF | Not detected | Not detected | pos | Not detected | 17 | 162 | 55.09 | 37.6
BSP047 | Female | pos | pos | PM | 1900 | PF | PF | Not detected | Not detected | pos | Not detected | 16 | 164 | 68 | 37.8
Positive |  | 34 | 34 | 34 |  | 41 | 45 | 7 | 7 | 45 | 0
Total | 47 | 47 | 47 | 47 | 47 | 47 | 47 | 47 | 47 | 47 | 47
31

## Summary tables
Socio-demographic characteristics | Study area |  | Both sites, n (%)
| MSCH, n (%) | SSCH, n (%)
Gender
Male | 70 (73.7) | 31 (66.0) | 101 (71.1) | Species | Primer/ | Sequence 5'-3' | Fluorescent label
Female | 25 (26.3) | 16 (34.0) | 41 (28.9) |  | probe
Age group (years) |  |  |  | P. falciparum | VAR_ ATS F | 5’ CCCATACACAACCAAYTGGA’3
< 5 | 12 (12.6) | 4 (8.5) | 16 (11.3) | P. falciparum | VAR_ATS R | 5’ TTCGCACATATCTCTATGTCTATCT ’3
5–14 | 31 (32.6) | 14 (29.8) | 45 (31.7) | P. falciparum | VAR_ATS Probe | TRTTCCATAAATGGT | FAM-MGB
15–30 | 35 (36.9) | 23 (48.9) | 58 (40.8) | P. vivax | PvVo F | 5’ CAAGCGGAAGGGATAAATGG 3’
> 30 | 17 (17.9) | 6 (12.8) | 23 (16.2) | P. vivax | PvVo R | 5’ CCGCGATGAAGCAGATGTCT 3’
Height(cm) |  |  |  | P. vivax | PvVo Probe | AAGGGAGAACCCC | FAM-MGB
Minimum | 64 | 8.93 | 8.93 | P.malariae | PmVo F | 5’ CTCAAATTCCACCAAGTCAAGAAA 3’
Maximum | 184 | 174 | 184 | P.malariae | PmVo R | 5’GATTCGTGCTATATCTGACTTCTAACTCA 3’
Median |  |  | 155 | P.malariae | PmVo Probe | 5’AGTGAGTTGTGTTACAATAA | FAM-MGB
Weight(kg) |  |  |  | P. ovale | PoRBP2 F | 5'CCA CAG ATA AGA AGT CTC AAG TAC GAT ATT -3'
Minimum | 5.2 | 8.02 | 5.2 | P. ovale | PoRBP2 R | 5’ CCGCGATGAAGCAGATGTCT 3’
Maximum | 170 | 74.5 | 170 | P. ovale | PoRBP2 Probe | 5’ AAGGGAGAACCCC | FAM-MGB
Median |  |  | 50.1
Temperature
Minimum | 34.3 | 35.6 | 34.3
Maximum | 39.4 | 39.2 | 39.4
Median |  |  | 37
Test method | Study sites
| Matayos (n = 95) | Sioport (n = 47) | Total (n = 142)
| MP+ (%) | MP+ (%) | MP+ (%)
Microscopy | 53 (54.7) | 34 (72.3) | 86 (60.6)
RDT | 49 (51.6) | 34 (72.3) | 83 (58.5)
qPCR | 90 (94.7) | 45 (95.7) | 135 (95.1)
Novaplex | 88 (92.6) | 41 (87.2) | 129 (90.8)
Parasites range/μL (Q1–Q3): Median | Test characteristic
| PCR (+), Microscopy (−) | RDT (+), Microscopy (−)
| n (%) | n (%)
<100 | 48 (33.8) | 1 (0.7)
Species detected | Diagnostic method used
| Microscopy | qPCR | Novaplex
| n (%) | n (%) | n (%)
Negative samples | 56 (39.4) | 7 (4.9) | 13 (9.2)
P. falciparum | 50(35.2) | 119 (83.8) | 111 (78.2)
P.falciparum/P.malariae | 23(16.2) | 8(5.6) | 11(7.8)
P.malariae | 13(9.2) | _ | 1(0.7)
P.ovale | _ | _ | 1 (0.7)
P.falciparum/P.ovale | _ | 6(4.3) | 4(2.8)
P.vivax | _ | _ | _
P.falcparum/P.malariae/P.ovale | _ | 2 (1.4) | 1 (0.7)
Performance metric(qPCR standard) | Test
| RDT | Microscopy | Novaplex assay
TP (qPCR = 135) | 83 | 86 | 129
FP (qPCR negative) | 0 | 0 | 0
TN (qPCR =7 ) | 7 | 7 | 7
FN (qPCR positive) | 52 | 49 | 6
Sensitivity % (95% C.I.) | 61.5 (52.7–69.7) | 63.7 (55.0 - 71.8) | 95.6 (90.6–98.4)
Specificity % (95% C.I.) | 100 (59.0–100.0) | 100 (59.0–100.0) | 100 (59.0–100.0)
PPV % (95% C.I.) | 100 | 100 | 100
NPV % (95% C.I.) | 11.9 (9.8–14.3) | 12.5 (10.3–15.2) | 53.9 (34.8–71.8)
Accuracy % | 63.4 (54.9–71.3) | 65.5 (57.0–73.3) | 95.8 (91.0-98.4)
kappa value (95% C.I.) | 0.136 (0.042–0.230) | 0.148 (0.047–0.248) | 0.679 (0.442–0.917)
Novaplex Performance metrics | Comparator test
| Microscopy | RDT
TP | 86 | 83
FP | 43 | 46
TN | 13 | 13
FN | 0 | 0
Sensitivity % (95% C.I.) | 100.0 (95.8–100.0) | 100.0 (95.7–100.0)
Specificity % (95% C.I.) | 23.2 (13.0–36.4) | 22.0 (12.3–34.7)
PPV % (95% C.I.) | 66.7(63.4-69.8) | 64.3(61.2-67.4)
NPV % (95% C.I.) | 100 | 100
Accuracy % | 69.7 (61.5-77.1) | 67.6 (59.3-75.2)
kappa value (95% C.I.) | 0.268 (0.144–0.393) | 0.248 (0.131–0.366)